| Flammable and Combustible Liquids ProgramPersonal Protective Equipment Prepared by: | Protected Vehicles Inc. Effective Date: Location: Revision Number: 1 |
| --- | --- |

Reference Standard

Occupational Safety and Health Administration Hazardous Materials, Subpart H, including: 29 CFR 1910.106

Purpose

This procedure establishes minimum procedures for the storage and use of flammable and combustible liquids. Flammable and combustible liquid use is incidental to our main business and as such, we strive to minimize use but meet all applicable safety standards.

Scope

This procedure applies to all of our company employees, all contractors and vendors performing work on company property, and all other individuals who are visiting or have business with our company.

Responsibilities

Management is responsible for the development and review of this program, assuring training of employees and enforcement of the guidelines within this program.

Employees shall comply with all procedures outlined in this policy.

Contractors and vendors shall comply with all procedures outlined in this policy.

Definitions

Aerosol: A material that is dispersed from its container as a mist, spray, or foam by a propellant under pressure.

Approved: Means a formal approval for flammable and combustible liquid service from a nationally recognized testing laboratory.

Bonding:  Connecting containers used to transfer liquids with a conductive wire (or similar device) to equalize the static charge.

Combustible: Any liquids with a flashpoint at or above 100 degrees Fahrenheit. Combustible liquids are divided into two classes:

- Class II Liquids:  Liquids with a flashpoint at or above 100 degrees Fahrenheit and below 140 degrees Fahrenheit, except for mixtures where 99 percent or greater of the mixture is composed of liquid with a flashpoint of 200 degrees Fahrenheit or greater.

- Class III Liquids: Liquids with a flashpoint at or above 140 degrees Fahrenheit. Class III liquids are divided into two subclasses:

- Class IIIA: Liquids with a flashpoint at or above 140 degrees Fahrenheit and below 200 degrees Fahrenheit, except for mixtures where 99 percent or greater of the mixture is composed of liquid with a flashpoint of 200 degrees Fahrenheit or greater.

- Class IIIB: Liquids with a flashpoint at or above 200 degrees Fahrenheit. This written program does not cover IIIB Liquids because of the minimal risk.

Contractor:  A non-company employee being paid to perform work in our facility.

Fire Area: An area of a building separated from the remainder of the building by construction having a fire resistance of at least one hour and having and having communicating openings properly protected by an assembly having a fire resistance of at least one hour.

Flammable Liquid: A liquid having a flashpoint below 100 degrees Fahrenheit, except for mixtures where 99 percent or greater of the mixture is composed of liquid with a flashpoint of 100 degrees Fahrenheit or greater. Flammable liquids are called Class I liquids are divided into three classes:

- Class IA: Liquids with a flashpoint below 73 degrees Fahrenheit and a boiling point below 100 degrees Fahrenheit.

- Class IB: Liquids with a flashpoint below 73 degrees Fahrenheit and a boiling point above 100 degrees Fahrenheit.

- Class IC: Liquids with a flashpoint at or above 73 degrees Fahrenheit and below 100 degrees Fahrenheit.

Flashpoint: The minimum temperature at which a liquid gives off vapor within a test vessel in sufficient concentration to form an ignitable mixture in air near the surface of the liquid.

Grounding: Connecting a flammable liquid transfer system to earth ground through the use of a wire or similar device.

Hot Work Permit: A documented procedure that is followed prior to and during maintenance and repair work that could introduce ignition sources into flammable and combustible liquid storage and handling areas.

Safety Can: An approved container of not more than 5 gallons, having a spring closing lid and spout cover and so designed that it will safely relieve internal pressure when subjected to a fire exposure.

Vendor:  A non-company employee being paid to perform a service in our facility.

Procedure

Stationary Tank Storage

- All stationary flammable or combustible liquid tank design, installation and operation in our facility will meet the requirements of the authority having jurisdiction and our property insurance carrier.

- All storage tanks will have adequate venting and relief devices for anticipated excess pressure and vacuum.

- All tank areas will be secure to prevent unauthorized access.

- Growth of weeds, debris and other combustible material that could contribute to fire ignition or growth.

- No non-metallic fittings will be used on flammable and combustible liquid storage tank systems

- All systems will be evaluated for proper continuity to ground. Bonding and grounding equipment will be provided at all liquid transfer locations.

- All tanks will be marked with permanent signs indicating the contents and the flammable or combustible nature of the product.

- Stationary tanks will not be filled unless attended by a knowledgeable operator watching for overfill unless a properly calibrated and functioning level indicator is installed to annunciate a full condition or remotely stop the transfer.

- Ignition sources (e.g. smoking, welding, regular service electrical equipment, etc.) will be controlled within the vicinity of tank storage:

Small Container Storage

- The maximum container size will be:

MAXIMUM ALLOWABLE SIZE OF CONTAINERS AND PORTABLE TANKS

__________________________________________________________________

|                          |

|   Flammable liquids      | Combustible liquids

Container type   |__________________________|_____________________

|        |        |        |        |

| Class  | Class  | Class  | Class  | Class

|   IA   |   IB   |   IC   |   II   |  III

__________________|________|________|________|________|____________

|        |        |        |        |

Glass or approved |        |        |        |        |

plastic..........|   1 pt |   1 qt |  1 gal |  1 gal |  1 gal.

Metal (other than |        |        |        |        |

DOT drums).......|  1 gal |  5 gal |  5 gal |  5 gal |  5 gal.

Safety cans.......|  2 gal |  5 gal |  5 gal |  5 gal |  5 gal.

Metal drums (DOT  |        |        |        |        |

specifications)..| 60 gal | 60 gal | 60 gal | 60 gal |  60 gal.

Approved portable |        |        |        |        |

tanks............|660 gal |660 gal |660 gal |660 gal | 660 gal.

__________________|________|________|________|________|____________

NOTE: Container exemptions: [a] Medicines, beverages, foodstuffs, cosmetics, and other common consumer items, when packaged according to commonly accepted practices, shall be exempt from the requirements of 1910.106(d)(2)(i) and (ii).

- Glass and plastic containers up to one gallon capacity are permissible if the material would become unfit if stored in metal and/or a legitimate process need exists

- Storage areas for flammable or combustible liquids will be located at least 25 feet from ignition sources such as smoking areas, welding and grinding areas, ovens, open flames, etc.

- Not more than 60 gallons of Class I and Class II and not more than 120 gallons of Class III liquid will be stored in an approved flammable liquid storage cabinet.

- Storage in approved inside flammable and combustible liquid storage rooms will meet the following requirements:

STORAGE IN INSIDE ROOMS

_____________________________________________________________

|            |              |

|            |              | Total Allowable

Fire      |    Fire    |              |   quantities

protection (1) | resistance | Maximum size | (gals./sq. ft./

provided    |            |              |   floor area)

______________|____________|______________|__________________

|            |              |

Yes...........| 2 hours....| 500 sq. ft...|           10

No............| 2 hours....| 500 sq. ft...|            5

Yes...........| 1 hour.....| 150 sq. ft...|            4

No............| 1 hour.....| 150 sq. ft...|            2

______________|____________|______________|___________________

Footnote (1) Fire protection system shall be sprinkler, water spray, 
carbon dioxide, or other system.

- Al inside storage rooms will meet the following requirements:

- Be equipped with a self closing, operating fire door

- Be equipped with spill containment

- Have a liquids tight floor to wall seam

- At least one aisle of three feet or more

- Approved electrical wiring for the Class of liquids stored

- Ventilation to provide at least 6 air changes per hour

- Containers over 30 gallons will not be stored on top of each other

- The maximum quantity of flammable and combustible liquid that may be located outside of an inside flammable room or cabinet in any one fire area (an area segregated by fire walls) of the building shall not exceed:

-25 gallons of Class IA liquids in containers

-120 gallons of Class IB, IC, II or III liquids in containers

-660 gallons of Class IB, IC, II or III liquids in a single portable container

- Oxidizers will be separated from flammable and combustible liquids by at least 25 feet.

- Storage shall be prohibited in offices occupancies except for maintenance and operation

- Flammable liquids will not be stored or used in basements

General Safety Considerations

- Flammable liquid containers will not be stored adjacent to exit aisles and exit doors or where they will interfere with the emergency exit from an area or building.

- Areas where flammable and combustible liquids are transferred or used will be separated from other areas by distance or by construction having adequate fire resistance.

- Drainage or containment will be used to control possible spills.

- Adequate ventilation (natural or mechanical) will be provided to control vapor concentrations to below 10 % of the LEL.

- Dispensing of flammable and combustible liquids will be by approved pump or metal self closing faucet.

- Liquids must be kept in closed containers when not in use.

- Spill and leak control procedures will be in place for each use situation.

- Class I liquids will be used only where no open flame or other ignition source is in the possible path of the vapor.

- Pressurizing flammable and combustible liquid containers to facilitate transfer will not be allowed.

- All transfers of liquid will be attended by an employee who is trained to stop the transfer in the event of a spill or other upset condition.

- Adequate fire extinguishers will be provided to control the Class B fire hazard created by our flammable and combustible liquid operations. In all cases travel will be 10 feet or less to reach a Class B rated fire extinguisher that contains at least 10 lbs. of extinguishing agent.

- All fixed fire protection systems will be maintained operational whenever flammable and combustible liquids are being processed.

- Welding, flame cutting, soldering, grinding, etc. and other flame, heat or spark producing work will not be allowed within 25 feet of liquid use and storage areas with the issuance of a Hot Work Permit.

- Smoking is forbidden in storage and handling areas and for a 25 foot radius around these areas.

- Containers used to transfer Class I liquids will be bonded and the transfer system grounded.

- Electrical wiring requirements for processing areas are as follow:

- Class I, Division 1: Locations where flammable vapor-air mixtures may exist under normal operations for 5 feet in all directions around the point(s) of vapor liberation and in pits (unless the pit is provided with mechanical ventilation).

- Class I, Division 2: Locations where flammable vapor-air mixtures may exist under abnormal conditions and for a distance beyond Class I, Division 1. These areas include an area within 20 feet horizontally, three feet vertically beyond a class I, Division 1 area and up to three feet above floor or grade level within 25 feet, if indoors or 10 feet if outdoors from any pump, bleeder, withdrawal fitting, meter or similar device handling Class I liquids.

- All electrical wiring in flammable and combustible liquid handling areas will meet requirements of our local fire prevention code and our property insurance carrier.

- Proper housekeeping will be enforced in all areas including:

- Maintaining all aisles and walkways clear and passable at all times.

- Maintaining access to fire extinguishers and other emergency response equipment.

- Dispose of flammable and combustible liquid wipes and refuse in closed metal containers.

- All trash containers will be emptied daily and refuse stored outside of our facility.

Emergency Procedures:

Our Facility Emergency Plan will contain response strategy for the following:

- Procedure to respond to anticipated flammable or combustible liquid spills, including:

- Immediate actions to be taken by employees to contain and control the spill and eliminate ignition sources

- Evacuation:

- Notification of the Fire Department

- Contacting a contractor for final mitigation

- Procedure to respond to a flammable or combustible liquid fire including:

- Employee actions to contain and control the fire

- Evacuation

- Isolating the fire

- Notification of the Fire Department

Training:

  - All personnel who work in liquid processing areas will receive training in the following:

  - Location of MSDS and other reference material

  - PPE requirements

  - Ventilation requirements

  - Bonding and grounding

  - Control of ignition sources

  - Operation of transfer and process equipment

  - Chemical contact emergency procedures (eye and skin contact)

  - Use of eye wash stations and safety showers

  - Spill emergency procedures

  - Fire emergency procedures

- Training will be provided at the time of hire or initial assignment and whenever procedures, materials or responsibilities change or when management observations indicate the need for retraining.

# Revision History Record:

| Revision Number | Section | Revised By | Description |
| --- | --- | --- | --- |
| 0 | NA | NA | Original document. |